## Slide 1
Advanced Off-Grid Solar Inverter Integrating Battery–Supercapacitor Hybrid Storage with MPPT and Smart Fault Management
Group Members | Registration
DANIYAL BASHARAT | 22JZELE0467
MALIK AWAIS BASHIR | 22JZELE0474
NANGYAL AHMED | 22JZELE0501
SUPERVISOR | Dr. ABID SIDDIQUE

## Slide 2
Introduction
Increasing global demand for clean and independent off-grid energy systems.
Conventional battery-based inverters face limited lifespan and weak transient response.
Integrating supercapacitors boosts overall energy efficiency and dynamic performance.
MPPT technology ensures continuous extraction of maximum solar power.
Intelligent cooling and fault-protection systems improve durability and reliability.

## Slide 3
SDG Mapping
SDG 7
Affordable & Clean Energy: Supports off-grid renewable solutions.
SDG 9
Industry, Innovation & Infrastructure: Promotes hybrid inverter design.
SDG 11
Sustainable Cities & Communities: Enables rural electrification.

## Slide 4
Problem Statement
Off-grid systems face unstable energy supply.
Battery-only systems degrade quickly under load variation.
Cooling and fault detection are often inadequate.
Need for a smart hybrid inverter integrating Battery–Supercapacitor storage with MPPT and protection.

## Slide 5
Aims and Objectives
Develop a smart off-grid hybrid inverter with Battery–Supercapacitor storage, MPPT, and intelligent cooling.
Objectives:
Design and simulate hybrid storage system.
Implement MPPT for maximum power extraction.
Create smart cooling and fault management.
Test performance under varying loads and conditions.

## Slide 6
Literature Review
Proposed System:
Combines all three—hybrid storage, MPPT, and smart cooling.
Authors | Design | Weaknesses
Zhang et al. (2023) | Hybrid battery–SC system | MPPT
Khan et al. (2022) | MPPT solar inverter | SC integration

## Slide 7
Proposed Methodology
Main Components:
Solar PV panel input
MPPT boost converter
Battery–Supercapacitor hybrid storage
DC–DC bidirectional converter
DC–AC inverter for load
Microcontroller-based control
Smart cooling and fault detection circuits

## Slide 8
Block Diagram
Solar PV
MPPT Boost Converter
Hybrid Storage (Battery + Supercapacitor)
DC–AC Inverter
Off-grid Load
Smart Cooling + Fault Detection (Sensors + Controller)

## Slide 9
Work Chart
October | Literature Review
November - December | Circuit Design & Simulation
January – February | Hardware Implementation
March – April | Testing & Analysis
May - June | Final Report & Presentation

## Slide 10
Task Distribution
Person | Responsibility
DANIYAL BASHARAT | MPPT Algorithm and Simulation
MALIK AWAIS BASHIR | Supercapacitor Integration and Fault Protection
NANGYAL AHMED | Hardware Design and Testing
SUPERVISOR | Guidance and Evaluation

## Slide 11
Utilization of Project Results
Off-grid home power systems.
Telecom and emergency backup applications.
Improved reliability and lifespan of batteries.
Sustainable renewable energy for rural areas.

## Slide 12
References
1. Zhang Y. et al., 'Hybrid Energy Storage for Renewable Power,' IEEE TPE, 2023.
2. Khan A. et al., 'MPPT-based Off-Grid Solar Inverter,' Renewable Energy J., 2022.
3. Liu M. et al., 'Energy Management of Hybrid Systems,' Applied Energy, 2021.
4. Alam S. et al., 'Smart Cooling & Fault Management in Inverters,' IEEE Access, 2024.

## Slide 13
Conclusion
A complete off-grid hybrid inverter system was developed.
Integrates MPPT, hybrid storage, cooling, and fault protection.
Enhances performance, efficiency, and sustainability.
Supports SDGs through renewable innovation.